## Raw Research
Manufacturer/Supplier | Product/Model | RO Capacity (LPH) | Price (INR) | Main Application | Location | Supplier Type | Purification Stages | RO Membrane Specification | Pump Specification | Power Supply | Power Consumption | Storage Capacity | Warranty | Source URL
Alef Technologies | Industrial RO Plant 250 LPH | 250 | 95000 | Borewell; industrial | Chennai, Tamil Nadu | Manufacturer | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | https://www.aajjo.com/product/industrial-ro-plant-250-lph-in-chennai-alef-technologies
Riviera Solutions | FRP RO Plant 250 LPH | 250 | 85000 | Industrial water treatment | Avadi, Chennai, Tamil Nadu | Manufacturer | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | https://www.rivierasolutions.in/industrial-ro-plant.html
Droppure | 500 LPH Industrial RO System Plant | 500 | 87000 | Commercial / industrial | Ambattur, Chennai, Tamil Nadu | Manufacturer | 2 (TFC; housing count) | TFC; 2 membranes | Not disclosed | Not disclosed | 1.0 HP min | Not disclosed | 1 year | https://www.droppure.in/ro-plant-and-system.html
Satya Neer | Commercial 500 LPH RO Plant, 2x4040 | 500 | 165000 | Hospital; hotel; office; school; factory | Samaipur, Delhi | Manufacturer/Supplier | 3 (sediment; carbon; RO) | 2 x 4040 | Not disclosed | 220V single phase | 1 HP / 2 HP | Not disclosed | 1 year pump/control panel | https://www.satyaneer.com/product-page/commercial-500-lph-ro-plant
Flow Tech Engineers | 500 LPH Commercial RO Plant | 500 | 100000 | Water purification; commercial | Coimbatore, Tamil Nadu | Manufacturer | Not disclosed | Toray Japan | SS multistage high-pressure pump | Not disclosed | Not disclosed | Not disclosed | Not disclosed | https://www.flowtechengineering.in/water-treatment-plant.html
Ocean Star Technologies | 500 LPH Commercial RO Plant | 500 | 90000 | Commercial water purification | New Delhi, Delhi | Trader/Retailer | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | https://www.oceanstartechnologies.co.in/commercial-ro-plant.html
Jovial Water Technologies | 500 LPH Industrial RO Plant | 500 | 110000 | Drinking; industrial process; commercial | Delhi, India | Supplier/Manufacturer (listing) | Not disclosed | Not disclosed | High-pressure pump | 220/380V | 2–3 kW | Not disclosed | Not disclosed | https://www.tradeindia.com/products/500-lph-industrial-ro-plant-c13286929.html
Uni Tech Aqua Solutions | 500 LPH Industrial RO Plant | 500 | 65000 | Industrial water treatment | Bhopal, Madhya Pradesh | Service provider/Supplier | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | https://www.tradeindia.com/products/500-lph-industrial-ro-plant-c13364847.html
M/s Aqua Filter | 200 LPH Industrial RO Plant | 200 | 80000 | Industrial water purification | Lucknow, Uttar Pradesh | Manufacturer/Supplier (listing) | Multi-stage pre/post filtration | Spiral-wound polyamide membrane | 316 SS multistage pump | Not disclosed | TEFC motor; rating not disclosed | Not disclosed | Not disclosed | https://www.aajjo.com/product/200-lph-industrial-ro-plant
Rain Power Filtration | 250 LPH Industrial RO System | 250 | 90000 | Water purification | Ahmedabad, Gujarat | Manufacturer/Supplier | Not disclosed | TFC; 3 membranes | Not disclosed | 380V, 3-phase | Not disclosed | Not disclosed | Not disclosed | https://www.aajjo.com/product/250-lph-industrial-ro-system
Ultra Watech Systems | UWS-1000 Industrial RO Plant | 1000 | 250000 | Industrial water treatment | Chennai, Tamil Nadu | Manufacturer | Not disclosed | Hydranautics | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | https://www.ultrawatech.com/industrial-reverse-osmosis-plant.html
Ultimate RO Systems | 1000 LPH Commercial / Industrial RO Plant | 1000 | 195000 | Industrial applications | Noida, Uttar Pradesh | Manufacturer | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Warranty mentioned; duration not stated | https://www.ultimaterosystems.com/product-page/commercial-ro-plant-manufacturer
Canadian Crystalline | 1000–2000 LPH Industrial RO Plant | 1000 | 500000 | Drinking; industrial water treatment | Chennai, Tamil Nadu | Manufacturer | Not disclosed | TFC | Not disclosed | 380V | Not disclosed | Not disclosed | Not disclosed | https://www.canadiancrystalline.co.in/reverse-osmosis-plant.html
Mahaveer Enterprises | 1000 LPH Industrial RO Plant | 1000 | 95000 | Industrial; food; pharma; textile | Lucknow, Uttar Pradesh | Supplier/Manufacturer (listing) | Not disclosed | Not disclosed | Centrifugal / high-pressure pump | Not disclosed | 1.5–2.5 kW | Not disclosed | Not disclosed | https://www.tradeindia.com/products/1000-lph-industrial-ro-plant-c12586651.html
Electrovery Technologies | 2000 LPH Fully Automatic SS RO Plant | 2000 | 350000 | Pharma; food & beverage; hospitality | India (online supplier) | Manufacturer | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 1 year | https://electrovery.com/2000lph-fully-automatic-ss-ro-plant
Asian Aqua Park | 2000 LPH Industrial RO Plant | 2000 | 400000 | Pharma; food; boiler feed; bottling; drinking | Coimbatore, Tamil Nadu | Manufacturer | 4+ (sand; micron; antiscalant; carbon + RO) | 2 x 8040 | Vertical multistage | Not disclosed | Not disclosed | Not disclosed | Not disclosed | https://www.asianaquapark.in/industrial-ro-system.html
ZERO SCALE / WTPESTORE | ZS-RO2000 RO Plant | 2000 | 400000 | Hotels; hospitals; housing societies | Faridabad, Haryana | Supplier/Brand | 3+ (multigrade; ACF; cartridge + RO) | 2 x 8040 TFC | 5 HP SS multistage | 415V 3-phase | 5 HP | Not disclosed | Not disclosed | https://www.wtpestore.co.in/products/ro-plant-2000-lph.html
Dharmanandan Techno Projects | 3000 LPH Industrial RO Plant | 3000 | 750000 | Industrial water treatment | Surat, Gujarat | Manufacturer/Supplier | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 5 kW | Not disclosed | Not disclosed | https://www.aajjo.com/product/3000-lph-industrial-ro-plant
M/s Viksara Complete Water Solutions | 5000 LPH Industrial RO Plant | 5000 | 375000 | Industrial water treatment | Navi Mumbai, Maharashtra | Supplier/Trading Company | Not disclosed | 2-membrane system | Not disclosed | 380V 3-phase | Not disclosed | Not disclosed | Not disclosed | https://www.tradeindia.com/products/three-phase-5000-lph-industrial-ro-plant-for-industrial-use-7753862.html
Riviera Solutions | 6000 LPH MS RO Plant | 6000 | 1100000 | Industrial water treatment | Avadi, Chennai, Tamil Nadu | Manufacturer | Not disclosed | TFC | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 1 year | https://www.rivierasolutions.in/reverse-osmosis-plant.html

## Cleaned Data
Manufacturer/Supplier | Product/Model | RO Capacity (LPH) | Price (INR) | Main Application | Location | Supplier Type | Purification Stages | RO Membrane Specification | Pump Specification | Power Supply | Power Consumption | Storage Capacity | Warranty | Source URL | Price per LPH (INR) | Capacity Range | Automation / Spec Completeness
Alef Technologies | Industrial RO Plant 250 LPH | 250 | 95000 | Borewell; industrial | Chennai, Tamil Nadu | Manufacturer | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | https://www.aajjo.com/product/industrial-ro-plant-250-lph-in-chennai-alef-technologies | 380 | ≤500 LPH | 0
Riviera Solutions | FRP RO Plant 250 LPH | 250 | 85000 | Industrial water treatment | Avadi, Chennai, Tamil Nadu | Manufacturer | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | https://www.rivierasolutions.in/industrial-ro-plant.html | 340 | ≤500 LPH | 0
Droppure | 500 LPH Industrial RO System Plant | 500 | 87000 | Commercial / industrial | Ambattur, Chennai, Tamil Nadu | Manufacturer | 2 (TFC; housing count) | TFC; 2 membranes | Not disclosed | Not disclosed | 1.0 HP min | Not disclosed | 1 year | https://www.droppure.in/ro-plant-and-system.html | 174 | ≤500 LPH | 4
Satya Neer | Commercial 500 LPH RO Plant, 2x4040 | 500 | 165000 | Hospital; hotel; office; school; factory | Samaipur, Delhi | Manufacturer/Supplier | 3 (sediment; carbon; RO) | 2 x 4040 | Not disclosed | 220V single phase | 1 HP / 2 HP | Not disclosed | 1 year pump/control panel | https://www.satyaneer.com/product-page/commercial-500-lph-ro-plant | 330 | ≤500 LPH | 5
Flow Tech Engineers | 500 LPH Commercial RO Plant | 500 | 100000 | Water purification; commercial | Coimbatore, Tamil Nadu | Manufacturer | Not disclosed | Toray Japan | SS multistage high-pressure pump | Not disclosed | Not disclosed | Not disclosed | Not disclosed | https://www.flowtechengineering.in/water-treatment-plant.html | 200 | ≤500 LPH | 2
Ocean Star Technologies | 500 LPH Commercial RO Plant | 500 | 90000 | Commercial water purification | New Delhi, Delhi | Trader/Retailer | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | https://www.oceanstartechnologies.co.in/commercial-ro-plant.html | 180 | ≤500 LPH | 0
Jovial Water Technologies | 500 LPH Industrial RO Plant | 500 | 110000 | Drinking; industrial process; commercial | Delhi, India | Supplier/Manufacturer (listing) | Not disclosed | Not disclosed | High-pressure pump | 220/380V | 2–3 kW | Not disclosed | Not disclosed | https://www.tradeindia.com/products/500-lph-industrial-ro-plant-c13286929.html | 220 | ≤500 LPH | 3
Uni Tech Aqua Solutions | 500 LPH Industrial RO Plant | 500 | 65000 | Industrial water treatment | Bhopal, Madhya Pradesh | Service provider/Supplier | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | https://www.tradeindia.com/products/500-lph-industrial-ro-plant-c13364847.html | 130 | ≤500 LPH | 0
M/s Aqua Filter | 200 LPH Industrial RO Plant | 200 | 80000 | Industrial water purification | Lucknow, Uttar Pradesh | Manufacturer/Supplier (listing) | Multi-stage pre/post filtration | Spiral-wound polyamide membrane | 316 SS multistage pump | Not disclosed | TEFC motor; rating not disclosed | Not disclosed | Not disclosed | https://www.aajjo.com/product/200-lph-industrial-ro-plant | 400 | ≤500 LPH | 4
Rain Power Filtration | 250 LPH Industrial RO System | 250 | 90000 | Water purification | Ahmedabad, Gujarat | Manufacturer/Supplier | Not disclosed | TFC; 3 membranes | Not disclosed | 380V, 3-phase | Not disclosed | Not disclosed | Not disclosed | https://www.aajjo.com/product/250-lph-industrial-ro-system | 360 | ≤500 LPH | 2
Ultra Watech Systems | UWS-1000 Industrial RO Plant | 1000 | 250000 | Industrial water treatment | Chennai, Tamil Nadu | Manufacturer | Not disclosed | Hydranautics | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | https://www.ultrawatech.com/industrial-reverse-osmosis-plant.html | 250 | 501–1000 LPH | 1
Ultimate RO Systems | 1000 LPH Commercial / Industrial RO Plant | 1000 | 195000 | Industrial applications | Noida, Uttar Pradesh | Manufacturer | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Warranty mentioned; duration not stated | https://www.ultimaterosystems.com/product-page/commercial-ro-plant-manufacturer | 195 | 501–1000 LPH | 1
Canadian Crystalline | 1000–2000 LPH Industrial RO Plant | 1000 | 500000 | Drinking; industrial water treatment | Chennai, Tamil Nadu | Manufacturer | Not disclosed | TFC | Not disclosed | 380V | Not disclosed | Not disclosed | Not disclosed | https://www.canadiancrystalline.co.in/reverse-osmosis-plant.html | 500 | 501–1000 LPH | 2
Mahaveer Enterprises | 1000 LPH Industrial RO Plant | 1000 | 95000 | Industrial; food; pharma; textile | Lucknow, Uttar Pradesh | Supplier/Manufacturer (listing) | Not disclosed | Not disclosed | Centrifugal / high-pressure pump | Not disclosed | 1.5–2.5 kW | Not disclosed | Not disclosed | https://www.tradeindia.com/products/1000-lph-industrial-ro-plant-c12586651.html | 95 | 501–1000 LPH | 2
Electrovery Technologies | 2000 LPH Fully Automatic SS RO Plant | 2000 | 350000 | Pharma; food & beverage; hospitality | India (online supplier) | Manufacturer | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 1 year | https://electrovery.com/2000lph-fully-automatic-ss-ro-plant | 175 | 1001–2000 LPH | 1
Asian Aqua Park | 2000 LPH Industrial RO Plant | 2000 | 400000 | Pharma; food; boiler feed; bottling; drinking | Coimbatore, Tamil Nadu | Manufacturer | 4+ (sand; micron; antiscalant; carbon + RO) | 2 x 8040 | Vertical multistage | Not disclosed | Not disclosed | Not disclosed | Not disclosed | https://www.asianaquapark.in/industrial-ro-system.html | 200 | 1001–2000 LPH | 3
ZERO SCALE / WTPESTORE | ZS-RO2000 RO Plant | 2000 | 400000 | Hotels; hospitals; housing societies | Faridabad, Haryana | Supplier/Brand | 3+ (multigrade; ACF; cartridge + RO) | 2 x 8040 TFC | 5 HP SS multistage | 415V 3-phase | 5 HP | Not disclosed | Not disclosed | https://www.wtpestore.co.in/products/ro-plant-2000-lph.html | 200 | 1001–2000 LPH | 5
Dharmanandan Techno Projects | 3000 LPH Industrial RO Plant | 3000 | 750000 | Industrial water treatment | Surat, Gujarat | Manufacturer/Supplier | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 5 kW | Not disclosed | Not disclosed | https://www.aajjo.com/product/3000-lph-industrial-ro-plant | 250 | 2001–5000 LPH | 1
M/s Viksara Complete Water Solutions | 5000 LPH Industrial RO Plant | 5000 | 375000 | Industrial water treatment | Navi Mumbai, Maharashtra | Supplier/Trading Company | Not disclosed | 2-membrane system | Not disclosed | 380V 3-phase | Not disclosed | Not disclosed | Not disclosed | https://www.tradeindia.com/products/three-phase-5000-lph-industrial-ro-plant-for-industrial-use-7753862.html | 75 | 2001–5000 LPH | 2
Riviera Solutions | 6000 LPH MS RO Plant | 6000 | 1100000 | Industrial water treatment | Avadi, Chennai, Tamil Nadu | Manufacturer | Not disclosed | TFC | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 1 year | https://www.rivierasolutions.in/reverse-osmosis-plant.html | 183.3333 | 5001–10000 LPH | 2

## Capacity Analysis
Capacity Range | Products | Avg_Price_INR | Median_Price_INR | Min_Price_INR | Max_Price_INR | Avg_Price_per_LPH
≤500 LPH | 10 | 96700 | 90000 | 65000 | 165000 | 271.4
501–1000 LPH | 4 | 260000 | 222500 | 95000 | 500000 | 260
1001–2000 LPH | 3 | 383333.3333 | 400000 | 350000 | 400000 | 191.6667
2001–5000 LPH | 2 | 562500 | 562500 | 375000 | 750000 | 162.5
5001–10000 LPH | 1 | 1100000 | 1100000 | 1100000 | 1100000 | 183.3333
>10000 LPH | 0

## Manufacturer Comparison
Manufacturer/Supplier | Products | Capacity_LPH | Price_INR | Supplier_Type | Location
Dharmanandan Techno Projects | 1 | 3000 | 750000 | Manufacturer/Supplier | Surat, Gujarat
Riviera Solutions | 2 | 6000 | 592500 | Manufacturer | Avadi, Chennai, Tamil Nadu
Canadian Crystalline | 1 | 1000 | 500000 | Manufacturer | Chennai, Tamil Nadu
ZERO SCALE / WTPESTORE | 1 | 2000 | 400000 | Supplier/Brand | Faridabad, Haryana
Asian Aqua Park | 1 | 2000 | 400000 | Manufacturer | Coimbatore, Tamil Nadu
M/s Viksara Complete Water Solutions | 1 | 5000 | 375000 | Supplier/Trading Company | Navi Mumbai, Maharashtra
Electrovery Technologies | 1 | 2000 | 350000 | Manufacturer | India (online supplier)
Ultra Watech Systems | 1 | 1000 | 250000 | Manufacturer | Chennai, Tamil Nadu
Ultimate RO Systems | 1 | 1000 | 195000 | Manufacturer | Noida, Uttar Pradesh
Satya Neer | 1 | 500 | 165000 | Manufacturer/Supplier | Samaipur, Delhi
Jovial Water Technologies | 1 | 500 | 110000 | Supplier/Manufacturer (listing) | Delhi, India
Flow Tech Engineers | 1 | 500 | 100000 | Manufacturer | Coimbatore, Tamil Nadu
Alef Technologies | 1 | 250 | 95000 | Manufacturer | Chennai, Tamil Nadu
Mahaveer Enterprises | 1 | 1000 | 95000 | Supplier/Manufacturer (listing) | Lucknow, Uttar Pradesh
Rain Power Filtration | 1 | 250 | 90000 | Manufacturer/Supplier | Ahmedabad, Gujarat
Ocean Star Technologies | 1 | 500 | 90000 | Trader/Retailer | New Delhi, Delhi
Droppure | 1 | 500 | 87000 | Manufacturer | Ambattur, Chennai, Tamil Nadu
M/s Aqua Filter | 1 | 200 | 80000 | Manufacturer/Supplier (listing) | Lucknow, Uttar Pradesh
Uni Tech Aqua Solutions | 1 | 500 | 65000 | Service provider/Supplier | Bhopal, Madhya Pradesh

## Correlation
| RO Capacity (LPH) | Price (INR) | Price per LPH (INR)
RO Capacity (LPH) | 1 | 0.85037 | -0.41337
Price (INR) | 0.85037 | 1 | -0.064067
Price per LPH (INR) | -0.41337 | -0.064067 | 1

## Methodology
Research Note
This is a research starter dataset compiled from currently indexed Indian supplier/manufacturer listings.
Prices are listing prices and may exclude/ include GST depending on the source; verify before commercial decisions.
Not disclosed means the source did not publish that field on the indexed product page.
Supplier Type is based on the source's description and should be validated directly with the company before OEM engagement.
Aajjo/TradeIndia listings are marketplace evidence, not independent certification of manufacturer status.